| Bon Secours Hospital Limerick Pathology Laboratory User Manual Policy ☐ SOP ☐ Guidelines ☒ Programme ☐ |  |
| --- | --- |
| Document Number: | BSL-LDP-GEN-001 |
| Revision/Version: | 02 |
| Document Type: (Hospital/Group) | BSHL Pathology Department |
| Supersedes/Replace: | BSL-LDP-GEN-001 v1 |
| Author & Title: | Deirdre Lawless, Quality Coordinator |
| Owner & Title: | Deirdre Lawless, Quality Coordinator |
| Approved By & Title: | Lisa Hogan, Laboratory Service Manager Deirdre Lawless, Quality Coordinator |
| Standards References: | ISO 15189:2022 & Ref JCI 8th Edition |
| Effective From: | 29/07/26 |
| Review Date: | As held on Q-Pulse |

| SUMMARY OF CHANGES (from previous version) |  |  |  |
| --- | --- | --- | --- |
| Version/ Revision | Effective Date | Changes (list sections changes) | Change Author |
| 2 | 29/07/26 | Added section 2.5 Patient Consent Added to section 3.2 Completing the Test Request The Blood Bank laboratory has a zero tolerance approach to sample labelling. Samples are rejected in the following circumstances: - Sample is unlabelled - Samples where the minimum essential information is incorrect / missing - Samples labelled with addressograph labels - Sample is unsigned (can be accepted in an emergency if the form is signed) (Specimen disclaimer required) - Inappropriate sample type - Grossly haemolysed samples - Samples for group and screen received > 48 hours from venepuncture - Manually labelled samples accompanied by an addressograph label on the request form - Samples in an expired container - Sample taken at the same time / venepuncture as previous sample - Duplicate samples (when a current valid group and hold is 48 hours or less old); note: ideally samples should only be processed every 72 hours, however referrals to the IBTS may need shorter sampling intervals in order to ensure blood is available on site. - Samples which damaged/leaking upon receipt to the laboratory. | DL |

TABLE OF CONTENTS

1	INTRODUCTION……………………………………………………………………………………………………………………....4

1.1	Organisation of the Pathology Department	………..….4

1.2	Philosophy, Mission and Values of the Bon Secours Health Sysytem (BSHS)	…………...4

1.3	Quality Management System and Quality Policy of the Bon Secours Hospital Limerick………..…	5

1.4	Complaints & Suggestions……………………………………………………………………………………………………….5

1.5 Data Protection & Confidentiality…………………………………………………………………………………………….6

1.6 Disclosure of Incidents that Resulted or Could Have Resulted in Patient Harm……………………..…6

1.7 Accreditation Status…………………………………………………………………………………………………………………6

1.8 Guide to Using this Manual………………………………………………………………………………………………………6

2	GENERAL INFORMATIOn……………………………………………………………………………………………...............6

2.1 Location of Pathology Department	…………….7

2.2	Pathology Department Hours of Service	…………….7

2.3	Pathology Department Contact Details	…………….7

2.4	Laboratory Fees	…………….8

2.5 Patient Consent……………………………………………………………………………………………………………………….8

2.6	Tests Routinely Available in Pathology Department	…………….8

2.7 Test Profiles in Use in The Laboratory……………………………………………………………………………………..9

2.8	Emergency Out of Hours Blood Testing	……………10

2.9 Emergency Blood Transfusion………………………………………………………………………………………………..10

3	LABORATORY TEST REQUESTS, SPECIMEN BOTTLES AND CONTAINERS..……………………………….…..10	3.1 General Information..……………………………………………………………………………………………………………..10

3.2	Completing the Test Request…………………………………………………………………………………….…………….10

3.3 Priorisation of Test Requests…………………………………………………………………………………………………..12

3.4	Turnaround Times	…………….12

3.5	Order of Blood Draw	…………….13

3.6	Sample Volume	…………….14

3.7	Labelling the Soecimen Container	…………….14

3.8 Instructions for 24 Hour Urine Container………………………………………………………………………………..14

4	DELIVERY AND TRANSPORT OF SPECIMENS TO THE LABORATORY…………………………………………….15

4.1	The Pneumatic Tube System	…………….15

4.1.1 Specimen Types Unsuitable for Delivery Using the Chute……………………………………………….15

4.1.2 Operation of the Pneumatic Tube System	…………….15

4.2 Specimen Delivery from Out Reach Locations	…………….16

4.3	Procedure for Out of Hours Delivery and Storage of Samples	…………….16

4.4 Procedure For Leakage from a Package During Transport……………………………………………………….16

4.5 Procedure for a Formalin Spill…………………………………………………………………………………………………16

4.6 Non Conforming Samples, Forms or Specimen Quality Issues ………………………………………………..16

4.7 Further Additional Testing………………………………………………………………………………………………………17

4.8 Storage of Examined Specimens for Archive and Look Back Purposes.....……………………………….17

5	REPORTING OF TEST RESULTS………………………………………………………………………………………………….18

5.1	Reports to Internal Users of the Laboratory Service……………………………………………………………… 18

5.2	Reports to External Clinical Users of the Laboratory Service………………………………………………....18

5.3	Telephoned Reports	…………..18

5.4	Reference Ranges	…….…….18

5.5	Biochemistry Critical Test Result Values…………………………………………………………………………………18

5.6 Haematology Critcal Test Result Values…………………………………………………………………………………18

5.7 Interpretation of Results……………………………………………………………………………………………………….19

6	point of care / near patient testing……………………………………………………………………………….19

6.1 Point of Care / Near Patient Testing Critical Test Result Values…………………………………………….19

7     EXTERNAL THIRD PARTY ASSESSMENT PROGRAMME……………………………………………………………..20

8	Test Directory……………………………………………………………………………………………………………………..20

- INTRODUCTION

This Laboratory User Guide is designed to give all clinical users an overall view of the services available in the Pathology Department at the Bon Secours Hospital, Limerick (BSHL). Every effort has been made to ensure that the information provided is current and accurate. This User Guide is subject to regular review, and authorised amendments may be implemented by the Pathology Department without notice.

Included in the guide are details about the scope of service, location and hours of operation of the laboratory, contact details for key laboratory personnel, availability of clinical advice and lists of the range of tests currently available, expected turnaround times and other relevant notes. Please note turnaround times are from when samples are received in the Pathology department to results authorised for clinician to review. Results are not issued directly to patients. The test repertoire of the Bon Secours Hospital Limerick (including referral tests) is incorporated into this manual alphabetically. The Pathology Department refers some tests to external laboratories and this manual lists the requirements for those tests. If a clinical user requires a test that is not detailed in this manual or is uncertain about some aspect of requesting or performing a test, they should contact the laboratory in advance of arranging the test.

The Pathology Department provides routine laboratory service to BSHL. There is no on-call service performed in BSHL. All urgent blood tests outside these hours are referred to the laboratory at University Hospital Limerick. The services of the BSHL Pathology Department undergo continuous review through quality assurance and audit activities. The laboratory is committed to performing its activities in accordance with the requirements of applicable regulations and standards.

This manual should be used as a guide only, any queries in relation to laboratory services should be addressed directly by contacting the laboratory.

  - 1.1 Organisation of the Pathology Department

The Pathology Department comprises two separate testing sections: Biochemistry and Haematology. Specimen Reception is responsible for receipt of all Laboratory samples and referral tests to external laboratories. The Pathology Department also includes, Quality Assurance and Point of Care services. The Biochemistry and Haematology laboratories together may be referred to as ‘Blood Sciences’.

  - 1.2 Philosophy, Mission and Values of the Bon Secours Health System

    - Philosophy

Bon Secours Health System carries forward the healing ministry of Jesus, in succession to the Sisters of Bon Secours in Ireland, through the ownership, management and governance of facilities, programmes and services intended to improve the health and wellbeing of the community in general, and is dedicated to bringing ‘Good Help’ to those to whom it ministers, in particular to the sick and the dying, through compassion, healing and liberation, in a manner consistent with the teachings of the Catholic Church.

    - Our Mission

Founded by the Sisters of Bon Secours, our hospitals have as their mission, care for the sick, the dying and their families within a Catholic Ethos. Inspired by the Gospel and sharing in the healing mission of Jesus, we recognise the dignity and uniqueness of each person, seeking to provide high quality, holistic care which is characterised by compassion, respect, justice and hope.

    - Our Vision

Inspired by God’s hope for the world, we will be a ministry where staff want to work, clinicians want to practice, people seek wellness and communities thrive.

    - Our Core Values

- Human Dignity: We commit to uphold the sacredness of life and to be respectful and inclusive of everyone.

- Integrity: We commit to act ethically and to model right relationships in all of our individual and organisational encounters.

- Compassion: We commit to accompany those we serve with mercy and tenderness, recognising that “being with” is as important as “doing for.”

- Stewardship: We commit to promote the responsible use of all human and financial resources, including Earth itself.

- Service: We commit to provide the highest quality in every dimension of our ministry.

  - 1.3 Quality Management System and Quality Policy of the Bon Secours Hospital Limerick

The Pathology Laboratory Department is committed to providing a high quality, efficient and comprehensive service to our patients and clinical users. Central to this commitment is the Quality Management System (QMS). The Biochemistry, Haematology and POCT teams are committed to performing their activities in accordance with the requirements of international standards ‘ISO 15189’.

The laboratory maintains a strong focus on continuous quality improvement for all aspects of its service. The quality of results is of fundamental importance and the laboratory operates to strict scientific and management standards. Results are authorised within a framework of comprehensive internal and external quality control and quality assurance. The Departments Quality Policy is displayed in the department and available at www.bonsecours.ie.

  - 1.4 Complaints & Suggestions

    - Complaints

The Pathology Department aims to ensure that our users including patients, receive accurate, reliable, meaningful and timely laboratory results. We are committed to a handling system for complaints such that:

- All complaints are handled rapidly and effectively.

- The difficulties experienced by the users are alleviated promptly.

- The cause of any problem is identified and corrected such that the same problem should be prevented from occurring again.

- The confidence of its users is restored.

If the service provided is not satisfactory, please contact the Quality Coordinator or Laboratory Services Manager. Refer to policy BSL-LDP-GEN-110 Reporting and Management of Feedback and Complaints

    - Suggestions

The Pathology Department welcomes any suggestions as to how its services might be improved from patients and users. Suggestions may be directed to any member of the Pathology Department staff; directly, over the phone or by email. Suggestions and feedback are then appraised and accepted or rejected through Q-Pulse. The Pathology Department is committed to carrying out regular surveys of user satisfaction.

  - 1.5 Data Protection & Confidentiality

The Laboratory complies with the policy of BSHL of the rights of the patient and staff and to act in an ethical and responsible manner in maintaining the security and integrity of all personal information. It is the responsibility of all staff, as defined in their contract of employment to ensure that all information which they have access to as part of their work is treated in the strictest confidence and protected from unauthorised access. All staff must acknowledge a confidentiality policy during their laboratory induction programme. Data protection and privacy statements can be viewed on the Bon Secours Website which lists the situations where the pathology department share patient information such as ‘There are limited circumstances in which your data may be used for medical research or public health purposes without your consent. Examples include our legal obligation to provide patient data to the National Cancer Registry, or the Health Protection Surveillance Centre’. No other authorized by contractual arrangements are in place. The results are returned to requesting clinician only.

  - 1.6 Disclosure of Incidents that resulted or could have resulted in patient harm

The pathology department Bon Secours Hospital Limerick do not report results directly to patients. Cases where an incident has resulted or could have resulted in patient harm are managed as non-conformances. The pathology department inform the requesting clinician. The clinician is responsible for informing the patient if they deem it necessary.

  - Accreditation Status

The Pathology Laboratory is committed to providing a high quality, efficient and comprehensive service to its users. Rigorous instrument and method verification procedures, internal quality control procedures, participation in External Quality assurance schemes assures the ongoing provision of a high quality service. The Laboratory is not currently accredited as a medical testing Laboratory to the International Standard ISO 15189 but the quality of results is of fundamental importance and the laboratory strives to operate to the ISO15189:2022 standard

  - 1.8 Guide to Using this Manual

For internal users a controlled electronic version of the User Guide is available on Hospital Q-Pulse in a ‘read-only’ format. External users can access the Pathology Laboratory User Guide on www.bonsecours.ie. The laboratory tests and profiles can be found under section 2.5 and 2.6 traceable to the department where the tests are performed. In addition, individual tests are detailed with specimen requirements in section 8 ‘Test Directory’.

# GENERAL INFORMATION

| Full name/address: | Pathology Laboratory, Bon Secours Hospital Limerick, Towlerton, Ballysimon, Limerick. V94 9D36 |
| --- | --- |
| Telephone: | 061-426100 |
| E-mail: | bsllaboratory@bonsecours.ie |
| Website: | www.bonsecours.ie |

2.1 Location of the Pathology Department

The Bon Secours Hospital Pathology Laboratory is located at the back of the Hospital. Access to the Pathology Laboratory is through coded security ID badge. There is no public access to the Laboratory. Service engineers, sales personnel or other visitors are met at Hospital Reception by laboratory personnel and accompanied to the Pathology Laboratory.

Pathology Laboratory

Please refer to the Bon Secours Health System website for parking information.  Please click here to access website.  If you need assistance, please contact security personnel who will assist you.

  - 2.2 Pathology Department Hours of Service

| Department/Activity | Opening Hours |
| --- | --- |
| Routine Laboratory Service Monday to Friday | Monday to Friday 08:00 to 20:00 hrs ex. Bank Holidays |
| Restricted Laboratory Service Saturday & Sunday mornings including Bank Holidays | Saturday: 8:00 to 14:00 hrs Sunday: 8:00 to 13:00 hrs Bank Holiday: 8:00 to 14:00 hrs |

Note: There is no on call service. Any out of hours, urgent blood samples are sent by taxi (organised by the nursing team) to UHL for resulting. These results are electronically available on Healthlink.

  - 2.3 Pathology Department Contact Details

The following numbers are used to contact departments / individuals.

| Department | Phone Extension / E Mail Address |
| --- | --- |
| Pathology Reception | 3335 |
| Laboratory Services Manager – Lisa Hogan | 086-8199075 |
| Haematology Laboratory Senior Medical Scientist – Daniel O Neill | 3336 3334 |
| Biochemistry Laboratory Senior Medical Scientist – John Gray | 3336 3334 |
| Laboratory Quality Co-ordinator – Deirdre Lawless | 3335 |
| Point of Care Scientist | 3335 |
| Dr Elizabeth Mulcahy, Consultant Histopathologist, Clinical Laboratory Director | bsllaboratory@bonsecours.ie |
| Dr Vourneen Healy, Consultant Histopathologist | bsllaboratory@bonsecours.ie |
| Dr Olu Ipadeola, Consultant Histopathologist | bsllaboratory@bonsecours.ie |
| Dr Johnny Salazar, Consultant Histopathologist | bsllaboratory@bonsecours.ie |
| Dr Erum Rasheed, Consultant Chemical Pathologist | bsllaboratory@bonsecours.ie |
| Dr Joy Baruah, Consultant Microbiologist | JBaruah@bonsecours.ie |

## Where medical and scientific advice is required on medical indications, appropriate selection of available testing procedures and queries with respect to Pathology test results, the Pathology Department welcome your queries.

# 2.4 Laboratory Fees

A list of Pathology charges is available on request from the Laboratory Services Manager.

2.5 Patient Consent

When obtaining any samples from patients verbal or written consent should be obtained. The procedure to be carried out must be fully explained to the patient as per BSHS-ETH-PP-15 Guideline in Relation to Obtaining PatientS’ Consent.  Written consent is required for invasive procedures, e.g., surgery, and for transfusion of blood components and/or products. The risks and benefits must be explained to the patient and documented either within the medical notes, the consent form or the Record of Transfusion Support, where appropriate.

Note: Venepuncture is not considered invasive but verbal consent should be obtained. In an emergency and in the best interests of the patient it might be necessary to carry out a procedure without obtaining consent.

    - 2.6 Tests Routinely Available in Pathology Department

    - In House Tests

| Biochemistry |  |
| --- | --- |
| ALT | LDL Cholesterol |
| Albumin | Magnesium |
| Alkaline Phosphatase | NT-pro BNP |
| Amylase | Phosphate |
| AST | Potassium |
| Total Bilirubin | Prostate Specific Antigen |
| Calcium | Protein - total |
| Chloride | Sodium |
| Creatine Kinase (CK) | Total Cholesterol |
| Creatinine | Transferrin |
| CRP | Triglyceride |
| Ferritin | hs Troponin I |
| GGT | TSH, FT4 |
| Glucose | Urea |
| HDL Cholesterol | Urea |
| Iron | Uric Acid |
| LDH |  |
| Haematology |  |
| Full Blood Count | Prothrombin Time(PT)/ INR |
| Differential WCC | APTT |
| Blood Film | D-Dimer |
| ESR | Fibrinogen |

2.7 Test Profiles in Use in the Laboratory

Biochemistry Profiles

| Profile | Tests |
| --- | --- |
| Renal | Sodium, Potassium, Chloride, Urea, Creatinine |
| Liver | Albumin, ALP, ALT, AST, GGT, T Protein, Total Bilirubin |
| Bone | Calcium, Albumin, Phosphorous, Uric Acid, Magnesium, Alkaline Phosphatase |
| Lipid | Total Cholesterol, Triglyceride, HDL Cholesterol, LDL Cholesterol |
| Iron Studies | Ferritin, Iron, Transferrin, Transferrin Saturation |
| TFT | TSH, FT4 |

Haematology Profiles

| Profile | Assays Included |
| --- | --- |
| Full Blood Count | White cell count, Red cell count, Haemoglobin, Platelet count, Red cell indices, 5-part WCC Differential |
| Erythrocyte Sedimentation Rate | ESR |
| Coagulation Screen | PT, INR, APTT |
| INR Level | PT, INR |
| D-Dimer | D-Dimer |
| Fibrinogen | Fibrinogen |
| Blood Film | Routine Morphology |

  - 2.8 Emergency Out of Hours Blood Testing

UHL provide the out of hours service for emergency requests. All urgent blood samples are sent to UHL via taxi for analysis using UHL Blood Sciences Request Form LF-LBS-FMREQ. Always critically assess the clinical requirement to take a specimen out of hours. Results of tests performed in UHL out of hours are available on Healthlink.

DO NOT COLLECT non-urgent samples or samples for external referral on Saturday/Sunday. Requesting of tests for external referral should be limited to routine hours, Mon-Fri.

2.8.1 View Blood Results on Healthlink

1.     Click on the Healthlink icon on the relevant PC

2.     Enter the username, password and PIN

3.     Using the search tab, find the patient results by searching for the patient name and DOB

4.     Print the results as needed. Wards / clinical locations can scan the printed results into the patient’s electronic health record.

    - 2.9 Emergency Blood Transfusion

Blood and blood products may only be signed-out and collected by personnel who have completed appropriate Haemovigilance training.

Two units of Group O, Rh D Neg, K Neg, C Neg, E Neg, CMV Neg red cell concentrate are available at all times in the Blood Issue Fridge for emergency use. These units may be used in an emergency for all patients. The removal or use of these units from the Blood Issue Fridge is a clinical decision and does not require the presence of a Medical Scientist for their use.

- LABORATORY TEST REQUESTS, SPECIMEN BOTTLES AND CONTAINERS

  - General Information

This section deals with the information that is required to be documented on the specimen bottle or container, prior to the analysis of samples. The laboratory has a number of different request forms for tests not analysed in the Pathology Department BSHL. These are used for different Pathology analyses as outlined below. It is important that the correct form is supplied for a particular test.

- Bon Secours Hospital Tralee Microbiology Form BST/PATH/PRF is used for Blood Cultures

- HSE Midwest – Blood Bank 1 Request Form BHSL is used for transfusion requests

- UHL – Hospital Blood Sciences Request Form is used for out of hours blood tests

3.2 Completing the Test Request

In house test requests processed in Bon Secours Hospital Limerick are ordered electronically on Meditech.

Test requests for blood cultures using the Bon Secours Hospital Tralee Microbiology Form BST/PATH/PRF are ordered electronically on Meditech.  All other test requests for microbiology are ordered electronically on Meditech and no test request form is required.

All histology requests from BSHL with the exception of breast histology requests, are referred to BSH Tralee. Breast histology requests are referred to Eurofins Pathology. The process for requesting a histology sample is completed at the time that the sample is taken during the clinical procedure. The individual process steps are

- Each individual histology sample is passed from the consultant to the nurse completing the order request

- Location of the sample is verified by the process of write down, read back and confirm i.e.

- Write down the complete order

- Read back to the prescriber

- Ask the person giving the order to confirm accuracy of the read back, written down order.

- Order is placed on Meditech

- Stickers are applied to the individual sample(s)

- Repeat steps 1-4 until all the samples are labelled.

- Place all the samples and request form into a transport bag (e.g. biohazard bag) prior to delivery of them to the laboratory

The histology request form requires the following essential information in a legible manner:

- Patient’s Hospital Number or Account Number

- Patient’s Full Name and Address

3.	Patient’s Date of Birth

4.	Patient’s gender

5.	Name of ward / clinical location

6.	The full name of the requesting Clinician

7.	Specimen type (polyp, biopsy etc.) and site (location of excision)

8.	Date and time of sample collection

The histology sample requires the following essential information in a legible manner:

- Patient’s Hospital Number or Account Number

- Patient’s Full Name

3.	Patient’s Date of Birth

4.	Name of ward / clinical location

5.	The full name of the requesting Clinician

7.	Specimen type (polyp, biopsy etc.) and site (location of excision)

8.	Date and time of sample collection

In the case of multipart container submission on a case, each part must be clearly identified as to the site and nature of the specimen.

Transfusion requests using HSE Midwest – Blood Bank 1 Request Form BHSL require the following essential information in a legible manner on the request form.

- Patient’s Hospital Number

- Patient’s Full Name and Address

3.	Patient’s Date of Birth

4.	Patient’s gender

5.	Name of ward / clinical location

6.	The full name of the requesting Clinician

7.	Examination(s) required

8.	Date and time of specimen collection in 24 hr format.

9.	Clinical information appropriate to the test(s) requested must be supplied e.g. history of administration of drugs, blood transfusion history diagnosis etc.

10.	Specific requirements for the Blood Transfusion Laboratory

- If specific blood products are required i.e. CMV negative etc. this should be requested.

- The specific type and date of surgery and reason for a transfusion request should be documented on the transfusion form.

- Blood transfusion specimens must have the signature of the person collecting and labelling the sample and also the signature of the person completing the request form i.e. two signatures, even if they are the same person.

The Blood Bank laboratory has a zero tolerance approach to sample labelling. Samples are rejected in the following circumstances:

- Sample is unlabelled

- Samples where the minimum essential information is incorrect / missing

- Samples labelled with addressograph labels

- Sample is unsigned (can be accepted in an emergency if the form is signed) (Specimen disclaimer required)

- Inappropriate sample type

- Grossly haemolysed samples

- Samples for group and screen received > 48 hours from venepuncture

- Manually labelled samples accompanied by an addressograph label on the request form

- Samples in an expired container

- Sample taken at the same time / venepuncture as previous sample

- Duplicate samples (when a current valid group and hold is 48 hours or less old); note: ideally samples should only be processed every 72 hours, however referrals to the IBTS may need shorter sampling intervals in order to ensure blood is available on site.

- Samples which damaged/leaking upon receipt to the laboratory.

3.3 Prioritization of Test Requests

- The Laboratory operates where practical a "first in, first out" policy with respect to the receipt, registration and processing of Haematology and Biochemistry specimens unless they are identified as urgent.

- The Laboratory operates a next day delivery process with respect to histopathology specimens. Urgent histopathology samples are sent to BSH Tralee the next working day. At the discretion of the Laboratory Manager the laboratory may send an urgent taxi on the same day. Please contact the laboratory for urgent histology processing.

  - 3.4 Turnaround Times

Turnaround time is defined as the time from receipt of specimen in the Laboratory until the result is authorised by the Medical Scientist. Turnaround time is adversely affected when there are excessive demands for urgent assays. We will endeavour to meet the following turnaround times of routine requests reported within 4 hours and urgent requests reported within 60 minutes. Serum samples require at least 20 minutes of clotting time prior to centrifugation, and 10 minutes of settling time post centrifugation. These measures help to prevent analytical interferences and protect laboratory personnel from potential biohazardous aerosols. Turnaround time stated below is for samples received within the hours of 08:00 to 20:00 Monday to Friday, 08:00 to 14:00 Saturday and 08:00 to 13:00 Sunday.

Bon Secours Hospital Limerick

| Test | Turnaround Time |
| --- | --- |
| Biochemistry Profile | Urgent – 60 minutes Routine – 4 hours |
| hs Troponin I | 60 minutes |
| Full Blood Count | Urgent – 1 hour Routine – 2 hours |
| Coagulation Screen / Fibrinogen / D Dimer | Urgent – 1 hour Routine – 2 hours |
| ESR | 2 hours |

Referral Laboratories

| Referral Labs | Test Description | Turnaround Time |
| --- | --- | --- |
| Blood Bank, University Hospital Limerick | Pre-operative Assessment | 1 day |
|  | Routine Samples | 1-2 hours post receipt |
|  | Urgent / Emergency samples / Blood Requests | 5-30 mins post receipt |
| Eurofins Biomnis | Refer to Eurofins Test Directory.pdf |  |
| Histology Dept., Bon Secours Hospital Tralee | Routine Cytology Specimens | 3 to 5 days |
|  | Urgent Cytology Specimens | 1 to 2 days |
| Biomnis Pathology | Breast Histology Specimens | 10-15 days |
| Microbiology Dept., Bon Secours Hospital Tralee | Refer to https://www.bonsecours.ie/services/pathology and review Bon Secours Hospital Tralee Laboratory Manual |  |

3.5 Order of Blood Draw

As, depicted below, if several different samples are required fill the tubes in the following order:

- Blood culture bottles (fill aerobic bottle first)

- Citrate tubes (blue bottle)

- Serum tubes (brown bottle)

- EDTA tubes (red-bottle)

- Fluoride/oxalate tubes (grey bottle)

NB- If using the Butterfly system, the brown tube must be used first to prime the line ahead of the coagulation bottle (Blue top) – this allows the removal of air that is in the Butterfly line. Should a Coagulation sample be required, this sample is suitable for testing.

Gently mix specimen containers immediately following collection by inversion 5 - 10 times.

| Order of Draw | Volume | Bottle Type | Additive | Assays | Special Instructions |
| --- | --- | --- | --- | --- | --- |
| 1 | 8 – 10mL |  | Aerobic & Anaerobic Bottles | Blood Culture | Aerobic followed by anaerobic bottle – if insufficient blood for both culture bottles, use the aerobic bottle only |
| 2 | 3mL |  | sodium Citrate | PT, INR, APTT, D-Dimer, Fibrinogen, | Fill tube to the line. Inadequately filled tubes cannot be analysed |
| 3 | 5mL |  | Serum Gel | General Biochemistry Tests, Haematinics, Immunology & Virology Tests |  |
| 4 | 3mL |  | K2 EDTA | FBC, ESR, film |  |
| 5 | 6mL |  | K2 EDTA | Group, Screen & Hold, Crossmatch |  |
| 6 | 4mL |  | Fluoride Oxalate | Glucose |  |
| 7 | 1mL |  | Heparin | Blood Gas | Expel all air bubbles |

Venepuncture sites to be avoided:

- The anterior veins in the wrist.

- Sclerosed or thrombosed veins.

- Veins close to a site of infection, bruising or haematoma.

- Site of I.V. therapy

- Affected side of previous mastectomy/axillary clearance, stroke, oedema, fracture, burns, and amputation fistula.

  - 3.6 Sample Volume

It is preferable that blood tubes, especially those containing preservatives, are filled to their stated capacity (note fill line on specimen bottle). This avoids the risk of insufficiency or interference from excess preservative. Fill capacity is mandatory for some tests, e.g. coagulation tests (under-filling or over-filling invalidates the test). It may be possible to process other smaller samples (e.g. serum). We endeavour to maximise the use of any sample.

3.7	Labelling the Specimen Container

Specimens are labelled with labels printed at the patient’s bedside using the WOW (workstation on wheels) software.  Labels will have the following information

Obtained from 2D barcode on patient’s wristband

Patient’s full name

- Patient’s account number

- Date of birth

- Sex

- Collectors/ staff members name (obtained from staff ID badge)

- Location

- Date of collection

Specimen type and anatomical site are specifically required for Histopathology, Non Gynaecological Cytology specimens and Microbiology swabs.

Blood transfusion samples must be handwritten and labelled, dated and signed by the person taking the sample.  Unlabelled blood transfusion samples or samples labelled with addressograph labels will be rejected.

3.8	Instructions for 24 Hour Urine Collection

Instructions for Ward Collection

- Please obtain a bottle for this collection from the Laboratory.  This will contain appropriate preservative if required. Care should be taken when handling acid.

Instructions for Collection Provided to Patients

- The container may contain a preservative.  This must not be washed out and care should be taken when filling the container as the preservative will be either acid or alkali.

- At a convenient time, e.g. 8am, void the bladder.  This specimen is discarded.  From this time until the same time the following day, all urine passed must be collected in the container.

- Once the collection is complete, it must be brought to the Laboratory and left in Specimen Reception during normal working hours or in the fridge if outside normal working hours.

- If any of the urine is discarded during collection, the collection must be restarted.  A new container will have to be obtained from the laboratory department.

A copy of this information is provided on each 24-hour container.

4. DELIVERY AND TRANSPORT OF SPECIMENS TO THE LABORATORY

At all times, specimens must be sent to the Laboratory as soon as possible after collection, in compliance with the requirements outlined in the relevant section of this user manual.

1.	During Pathology Laboratory routine working hours, specimens may be delivered if suitable via the chute.

2.	There is routine delivery of histopathology & cytology specimens to the Pathology Laboratory by staff from Theatre, Day Unit, Endoscopy and the Consultant Clinics.

- All other samples unsuitable for sending via the Chute must be hand delivered to the Pathology Laboratory by hospital staff.

  - 4.1 The Pneumatic Tube System

The Pneumatic Tube System is used to deliver certain approved sample types from various satellite stations within the hospital to the Pathology Laboratory. Before using the chute, please familiarise yourself with the correct operation and health and safety procedures. Please be aware of the specimen types that can and cannot be transported using the chute including the carrier (pod) colour and type.

    - 4.1.1 Specimen Types Unsuitable for Delivery using the Chute

- Any irretrievable sample which may break or leak in the system such as blood cultures

- Known/suspected ‘infectious/high risk’ specimens (e.g. TB or blood-borne viral infections such as HBV, HCV or HIV)

- 24-hour urines

- Histopathology or cytology specimens

- Blood unit / blood products.

    - 4.1.2 Operation of the Pneumatic Tube System

      - Pod type:

- Red Pod – Samples

- Blue Pod – Paper/Reports

      - Directions for use:

- Ensure that the primary specimen container is sealed tightly to prevent any leaks during transit.

- Place the specimen(s) in a biohazard bag and seal securely.

- Place the specimen into a RED pod (BLUE pods are for reports only).

- Close the container - ensuring the lid is fully shut.

- Dial destination required into the automatic station using the keypad (A directory is displayed on all PTS terminals throughout the Hospital).

- Place container gently into the dispatch slot on the Pneumatic Tube system.

- Wait to ensure pod has successfully sent.

  - 4.2 Specimen Delivery from Out Reach Locations

All such specimens should reach the Pathology Laboratory by 19.00 hrs Monday to Friday. Do not send specimens outside of these hours. It is the responsibility of outpatient clinics to arrange specimen delivery to the laboratory.

4.3 Procedure for the Out of Hours Delivery and Storage of Samples

Microbiology specimens such as urines, 24-hour urine specimens, faeces, swabs and sputums can be hand delivered to the laboratory and stored in Specimen Reception Fridge 1 labelled ‘Out of Hours Samples’.

4.4 Procedure for Leakage from a Package During Transport

If leakage is observed, contact the laboratory for advice. Do not touch the package. As soon, as is practical, clean up as follows:

- Wear gloves and protective clothing, including face and eye protection if indicated.

- Cover any visible spillage with a cloth or paper towels to contain it.

- Pour a 5% bleach solution concentrically beginning at the outer margin of the spill area, working towards the centre over the cloth or paper towels and the immediate surrounding area.

- After about 30 min, clear away the materials. Place the damaged package in a leak proof container e.g., yellow sack and remove to a controlled lab area to see if the samples can be salvaged.

- Clean and disinfect the area of the spillage and dispose of contaminated materials into a leak-proof, puncture-resistant waste disposal container.

4.5 Procedure for a Formalin Spill

1.    Using appropriate PPE, cover small formalin spillages with disposable absorbent towels, dispose of contaminated materials into a leak-proof, puncture-resistant waste disposal container.

2.   For larger formalin spillages, use a Spill Kit. Open doors to ventilate the area. Dispose of contaminated materials into a leak-proof, puncture-resistant waste disposal container.

3.   The area should then be wiped with Trigene disinfectant (1:50 dilution).

4.6 Non-Conforming Samples, Forms or Specimen Quality Issues

Laboratory personnel inspect incoming specimens to ensure that the labelling of the specimen container or bottle are completed as specified in sections 3.7 above. A sample will be rejected if the required acceptance criteria are not met or if judged unacceptable for testing. This policy is in place to ensure correct patient identification and to ensure accuracy of results.

In all cases where a sample is being rejected, it is Laboratory policy to communicate this information to the patient’s location and request a repeat sample. Where a sample cannot be replaced, amendments can be made as per BSL-LAB-GEN-SPEC REC Specimen Reception and a non-conformance raised on Q-Pulse. Examples of irreplaceable samples include histopathology and certain cytology specimens, joint or body cavity fluids, samples from theatre and blood cultures taken before the start of antibiotic treatment.

All specimen and quality issues are recorded within the Laboratory Quality Management System and monitored as a Quality Indicator. This information is reported to the Hospital Management Team on an on-going basis. Where the requirements with respect to labelling the request form and specimen container or specimen quality issues are not met the following will apply.

| SPECIMEN ISSUES | REQUIRED ACTION |
| --- | --- |
| #### No specimen received. | - Specimen Reception inform the clinical area and request a specimen |
| - Specimen site not identified on form or specimen - Specimen collected at incorrect time. | - Specimen Reception inform the clinical area who identify the correct site on specimen - Ward contacted by Specimen Reception to provide correctly timed sample. |
| - Two of the three mandatory unique identifiers are not correct or absent from the specimen (Full name, DOB, hospital no / account number). | - Request second specimen or the ward staff will accept responsibility for same in emergency cases or where the specimen cannot be replaced. - If tested the report will show the non-conforming event. |
| - Addressograph label on Blood Bank tube(s) or unlabelled Blood Bank tube(s). | - Blood transfusion samples which are unlabelled or labelled with an addressograph label will be rejected and a new sample requested. |
| #### Specimens unlabelled (other than Blood Bank). | - The specimen should be repeated where possible. Specimen Reception staff will phone for a repeat. - If the specimen is irreplaceable and a repeat cannot be obtained, ward staff will take responsibility by relabelling the specimen. The clinical staff member rectifying the issue will be identified on the test report. |
| #### QUALITY ISSUES | REQUIRED ACTION |
| - Specimen grossly haemolysed - Specimen grossly lipaemic - Specimen too old | - A second specimen is to be collected from the patient |

It is important to note the Laboratory cannot process specimens with non-conforming issues until they are resolved by clinical staff.  Undue delay in correcting issues may result in a requirement to take a repeat specimen.  The Pneumatic Tube System may be used to transport non-conforming specimens and/ or forms to and from the clinical area for the speedy resolution of issues.

  - Further Additional Testing

If on sending a specimen for testing and further additional testing is required, please contact Specimen Reception to investigate the feasibility of using the initial specimen for analysis, as age of specimen may impact on the validity of test results.

4.8 Storage of Examined Specimens for Archive and Look Back Purposes

Specimens post examinations are retained for defined periods depending on the specimen type.  If you require further details, please contact the Pathology Department.

- REPORTING OF TEST RESULTS

  - 5.1 Reports to Internal Users of the Laboratory Service

Internal and referral results will be reported via Bons Connect and are available electronically for viewing in clinical areas once authorised for release by Medical Scientists.

  - 5.2 Reports to External Clinical Users of the Laboratory Service

Reports for all test requests received from locations outside the hospital will be posted on a daily basis.

  - 5.3 Telephoned Reports

It is the policy of the Pathology Department to telephone reports within 30 mins of releasing the results to the requesting clinical area or ward when results for specific parameters are outside critical values or where a specimen is rejected. To comply with Hospital/ Laboratory accreditation and clinical requirements please note the laboratory will request and document the following information from clinical personnel in receipt of a verbal notification for a critical test result

-	Clinical staff member's full name and title and clinical location

-	Read back the test results

  - 5.4 Reference Ranges

Reference ranges for different analytes are printed on the test reports. Please refer to the test result report but note that some reference ranges are dependent on age, gender or other specific factors.

5.5 Biochemistry Critical Test Result Values

Laboratory critical values (or panic values) are highly abnormal test results that indicate a potential life-threatening situation, requiring immediate, direct communication from the laboratory to the requester for prompt intervention. These values for biochemistry tests are as follows

| Test | Unit | Lower Limit | Upper limit |
| --- | --- | --- | --- |
| ALT | U/L | - | ≥500 |
| AST | U/L | - | ≥500 |
| Amylase | U/L | - | ≥500 |
| Adjusted Calcium | mmol/L | ≤1.80 | ≥3.0 |
| CK | U/L | - | ≥5000 |
| CRP | mg/L | - | ≥300 |
| Creatinine | µmol/L | - | ≥354 |
| eGFR | mL/min | ≤15 (new presentation) |  |
| FT4 | pmol/L | ≤5 | ≥50 |
| Glucose | mmol/L | ≤2.5 | ≥25.0 |
| Magnesium | mmol/L | ≤0.4 | - |
| Phosphate | mmol/L | ≤0.4 | - |
| Potassium | mmol/L | ≤2.5 | ≥6.0 |
| Sodium | mmol/L | ≤125 | ≥155 |
| Triglyceride | mmol/L | - | ≥20 |
| TSH | mIU/L | - | ≥50 |
| hs Troponin I | ng/L | - | >34 (male) >16 (female) |
| Urea | mmol/L | - | ≥30 |

5.6 Haematology Critical Test Result Values

Laboratory critical values (or panic values) are highly abnormal test results that indicate a potential life-threatening situation, requiring immediate, direct communication from the laboratory to the requester for prompt intervention. These values for haematology tests are as follows

| Test | Unit | Lower Limit | Upper limit | Comment |
| --- | --- | --- | --- | --- |
| Haemoglobin | g/dL | <7.0 | >20.0 | >2.0 reduction in Hb, since most recent Hb result |
| Platelet Count | X 109/L | <30 | >600 | First occasion or significant drop from previous result |
| White Cell Count | X 109/L |  | >30 | Morphology follow up |
| Neutrophil Count | X 109/L | <0.5 |  |  |
| Blood Film | Acute leukaemia, Thrombocytopenic purpura |  |  |  |

  - 5.7 Interpretation of Results

If clinical guidance is required to interpret results, this can be obtained by contacting the relevant Pathology Consultant.

- Point of Care/ NEAR PATIENT Testing

The following Point of Care/ Near Patient Testing is performed and reported in designated clinical areas.

| # Test/Profile | Specimen Type | # Specimen Requirements |  |  | ## Turnaround Time |
| --- | --- | --- | --- | --- | --- |
|  |  | Additive Required | Volume Required (mL) | Container Type |  |
| Blood Gas | Blood | Heparinised | 1 | Blood Gas Syringe | <15 mins |
| Glucose (Capillary) | Finger prick (whole blood) | N/A | N/A | N/A | <5 mins |
| Oxyhaemoglobin | Whole Blood | Heparinised | 50µl | Blood Gas Syringe | <5 mins |
| Ketone (Capillary) | Finger prick (whole blood) | N/A | N/A | N/A | <5 mins |
| Urinalysis (10 Panel) | Urine | N/A | 5-20 | Universal Container | <5 mins |
| Urinary hCG | Urine | None | 5-20 | Universal Container | <5 mins |

Note:  Records of Point of Care/ Near Patient Test results are maintained in the patient's medical record.

6.1 Point of Care/ Near Patient Testing Critical Test Result Values

Critical values (or panic values) are highly abnormal test results that indicate a potential life-threatening situation, requiring immediate, direct communication from the laboratory to the requester for prompt intervention. These values for point of care tests are as follows

| Parameter | Units of Measurement | Lower Limit | Higher Limit | Required Action by User |
| --- | --- | --- | --- | --- |
| Blood Gas - Potassium | mmol/L | ≤ 2.5 | ≥ 6.0 | Inform relevant clinical personnel |
| Blood Gas - Lactate | mmol/L | N/A | > 2.0 first occurrence > 4.0 all occurrences | Inform relevant clinical personnel |
| Blood Gas - pH | pH | 7.3 | 7.6 | Inform relevant clinical personnel |
| Blood Gas - Glucose | mmol/L | 3.0 | ≥ 20 | Inform relevant clinical personnel |
| Blood Gas - Na | mmol/L | < 120 | > 160 | Inform relevant clinical personnel |
| Blood Gas - iCa | mmol/L | < 0.5 | > 1.58 | Inform relevant clinical personnel |
| Capillary Glucose | mmol/L | 3.0 | 20.0 | Inform relevant clinical personnel |
| Capillary Ketone | mmol/L | N/A | 1.0 | Inform relevant clinical personnel |
| Pregnancy | N/A | All positive results |  | Inform relevant clinical personnel |

- EXTERNAL THIRD PARTY ASSESSMENT PROGRAMME

The Pathology Department participates in relevant available external third party assessment schemes.   We use these independent third party programmes to verify the accuracy of the test procedures used.

- TEST DIRECTORY

Please see tables on following pages for test directory.

Tests Not Listed

If you require a diagnostic test that is not listed, please contact the Pathology department who will endeavour to outsource as appropriate your test requirement. The Pathology Department (Scientific / Quality / Consultant staff) evaluate and select referral laboratories based on objective criteria set out in Laboratory Policy.

| Test Name | Testing Location | Specimen Type |
| --- | --- | --- |
| APTT | In-House Haematology | 2.7 mL coagulation tube |
| Adjusted Calcium | In-House Biochemistry | Calculated Test |
| Alanine amino Transferase (ALT) | In-House Biochemistry | 5 mL blood in serum tube |
| Albumin | In-House Biochemistry | 5 mL blood in serum tube |
| Albumin (Urine) / Microalbumin | Eurofins Biomnis Ireland | Urine in plain universal |
| Alkaline Phosphatase (Alk Phos) | In-House Biochemistry | 5 mL blood in serum tube |
| Alpha Fetoprotein (AFP) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Alpha-1-Antitrypsin (AAT) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Amylase | In-House Biochemistry | 5 mL blood in serum tube |
| Amylase/Creatinine Clearance Ratio | Eurofins Biomnis Ireland | 5 mL blood in serum tube plus a random urine specimen |
| Angiotensin Converting Enzyme (ACE) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Cardiac Muscle Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Cardiolipin Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-CCP (Citrullinated Cyclic Peptide) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Centromere Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-dsDNA Antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-ENA Screen | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-GAD antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Gastric Parietal Cell Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-GBM Glomerular Basement Membrane (GBM) Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Histone Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Insulin Antibodies (Insulin Abs IgG) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Intrinsic Factor Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Liver Kidney Microsomal (LKM) Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-M2 Mitochondrial (Pyruvate Dehydrogenase) Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Mitochondrial Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Myelin Associated Glycoprotein Antibodies (MAG) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Myeloperoxidase (MPO) Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Neutrophil Cytoplasmic Antibodies (ANCA) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Nuclear Antibody (ANA) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Phospholipid Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Skeletal (Striated) Muscle Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Smooth Muscle Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Anti-Thyroid Peroxidase (TPO) Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Apolipoprotein A | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Apolipoprotein B | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Ascitic Fluid (see Fluid / Tissue / Pus) | Eurofins Biomnis Ireland | Fluid including clots in sterile universal container. |
| Aspartate amino Transferase (AST) | In-House Biochemistry | 5 mL blood in serum tube |
| Aspergillus - screening serology | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Bartonella Henselae Antibodies (Cat scratch Fever) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Bence - Jones proteins (Urine Free Light Chains) | Eurofins Biomnis Ireland | 24 h urine for quantification or 20 mL for screening in plain container, no preservative |
| Beta-2-Microglobulin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Beta-2-Transferrin | Eurofins Biomnis Ireland | 5.0 mL blood in plain gel tube and ear/nasal discharge in universal container |
| Ketones | In House - POCT |  |
| Bilirubin - Total | In-House Biochemistry | 5 mL blood in serum tube |
| Blood Culture | Medical Microbiology, Bon Secours Hospital Tralee | 8.0 -10.0 mL in Bactec Aerobic and Anaerobic vial |
| Blood Film | In-House Haematology | 3.0 mL K3 EDTA blood |
| Blood Gases (pH, pCO2, pO2, Bicarbonate, Base Excess, Total CO2) | In House - POCT | Blood in a Li Heparin syringe |
| Body Fluid (pleural, pericardial and ascitic, ovarian cyst, breast cyst, thyroid cyst etc.) | Medical Microbiology, Bon Secours Hospital Tralee | > 0.5 mL in a universal container |
| Bone Profile (In House BP) | In-House Biochemistry | 5 mL blood in serum tube |
| Borrelia burgdorferi IgG antibodies (Lyme Disease) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Bronchial Brushings | Medical Microbiology, Bon Secours Hospital Tralee | 10 mL of sample in a universal container. Slides should be prepared by directly smearing the brush tip on to a slide and spray fixed with Cytofix. “Fixed” must be written on the slide. The brush tip should then be broken off and placed in Cytolyt fluid. |
| Bronchial Lavage and Bonchial Washings | Medical Microbiology, Bon Secours Hospital Tralee | Fluid in a universal container |
| Brucella Screening, Agglutination | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Bursa Fluid | Eurofins Biomnis Ireland | Specimen in sterile container |
| CA 125 | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| CA 15-3 | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| CA 19-9 | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Calcium | In-House Biochemistry | 5 mL blood in serum tube |
| Calcium (Urine) | Eurofins Biomnis Ireland | 24 hour acidified urine collection |
| Calcium Excretion | Eurofins Biomnis Ireland | 5 mL blood in serum tube plus a random urine specimen |
| Calcium -ionised | In House - POCT | Blood in a Li Heparin syringe |
| Calcium/Creatinine Ratio for Bone Biomarker Profile | Eurofins Biomnis Ireland | Random urine specimen |
| Calprotectin faecal | Eurofins Biomnis Ireland | 20 g (minimum) Stool specimen |
| Carbapenemase Producing Enterobacteriaceae (CPE) Screen | Eurofins Biomnis Ireland | Rectal swab in transport medium / faeces sample |
| Carboxyhaemoglobin | In House - POCT | Blood in a Li Heparin syringe |
| Catecholamines (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| CEA (Carcinoembyronic Antigen) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Ceruloplasmin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Chlamydia pneumoniae IgM & IgG | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Chlamydia psittaci Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Chloride | In-House Biochemistry | 5 mL blood in serum tube |
| Chloride (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Cholesterol | In-House Biochemistry | 5 mL blood in serum tube |
| Clostridium difficile Toxin B gene detection | Eurofins Biomnis Ireland | Faeces 1-2 g during acute phase of illness in leak proof laboratory container |
| Coagulation Screen | In-House Haematology | 2.7 mL coagulation tube |
| Coeliac Screen (TTG & EMA) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Common Bile Duct (CBD) Brushings | Medical Microbiology, Bon Secours Hospital Tralee | The brush tip to be broken off, sheath removed and placed directly in Cytolyt fluid. |
| Conjunctivitis (Bacterial Culture) | Eurofins Biomnis Ireland | Swab in transport medium |
| Cortisol | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Cortisol (24h Urinary Free Cortisol) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Coxiella burnetii IgM Antibodies (Q fever) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| COVID-19/SARS-CoV-2 | Medical Microbiology, Bon Secours Hospital Tralee | Nasopharyngeal swab AND oropharyngeal swab |
| CPE swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Creatine Kinase (CK) | In-House Biochemistry | 5 mL blood in serum tube |
| Creatinine | In-House Biochemistry | 5 mL blood in serum tube |
| Creatinine (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Creatinine Clearance | Eurofins Biomnis Ireland | 24-hour urine in plain container and 5 ml blood in plain gel tube taken at some point during the urine collection. It is important that the blood and urine are received in the laboratory as a matched pair. |
| CRP (C Reactive Protein) | In-House Biochemistry | 5 mL blood in serum tube |
| Cryptosporidium spp | Medical Microbiology, Bon Secours Hospital Tralee | Faeces 1-2 g during acute phase of illness in leak proof laboratory container |
| CSF for cytology | Medical Microbiology, Bon Secours Hospital Tralee | > 0.5 mL in a universal container |
| Cytomegalovirus (CMV) IgG / IgM Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| D-Dimers | In-House Haematology | 2.7 mL coagulation tube |
| Dengue Fever Serology | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Diphtheria IgG (Immunity) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Ear Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Endocervical Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Epstein – Barr Virus (EBV) Antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| ESR (Erythrocyte Sedimentation Rate) | In-House Haematology | 3.0 mL K3 EDTA blood |
| Extended Spectrum Beta Lactamase (ESBL) culture | Eurofins Biomnis Ireland | Rectal swab in transport medium / faeces sample |
| Eye Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Faecal Elastase | Eurofins Biomnis Ireland | Specimen in sterile container |
| Faeces – Clostridium Difficile | Eurofins Biomnis Ireland | 1-2 g faeces collected in acute phase of illness in leak proof container |
| Faeces – Culture and Sensitivity | Eurofins Biomnis Ireland | 1-2 g faeces collected in acute phase of illness in leak proof container |
| Faeces – Norovirus | Eurofins Biomnis Ireland | 1-2 g faeces collected in acute phase of illness in leak proof container |
| Faecal Occult Blood | Eurofins Biomnis Ireland | 1-2 g faeces collected in in leak proof container |
| Faeces – Parasite screen | Eurofins Biomnis Ireland | 1-2 g faeces collected in leak proof container |
| Ferritin | In-House Biochemistry | 5 mL blood in serum tube |
| Fibrinogen | In-House Haematology | 2.7 mL coagulation tube |
| FNA (Fine Needle Aspirate) – Endobronchial | Medical Microbiology, Bon Secours Hospital Tralee | A selection of air dried and spray fixed slides is preferable. Please note that slides for fixing should be spread and spray fixed with Cytofix immediately following material being placed on the slides and “Fixed” written on the slides. The needle used for aspiration should be rinsed in Cytolyt fluid. |
| FNA (Fine Needle Aspirate) – Lymph Node | Medical Microbiology, Bon Secours Hospital Tralee | Air dried slides are the specimen of choice unless metastatic carcinoma is suspected in which case a selection of air dried and spray fixed slides is desirable. Please note that slides for fixing should be spread and spray fixed with Cytofix immediately following material being placed on the slides and “Fixed” written on the slide. The needle used for aspiration should be rinsed in Cytolyt fluid. |
| FNA (Fine Needle Aspirate) - Thyroid, Salivary Gland and other head and neck aspirates | Medical Microbiology, Bon Secours Hospital Tralee | Slides should be prepared directly from the FNA sample and “air dried”. The needle used for aspiration should then be rinsed in Cytolyt fluid. |
| Folate (Serum) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Free light chains | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Fructosamine | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| FSH (Follicle Stimulating Hormone) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Full Blood Count (FBC) | In-House Haematology | 3.0 mL K3 EDTA blood |
| Fungal PCR (nail clippings) | Eurofins Biomnis Ireland | Nail clippings in a sterile container |
| Galactomannan antigen (Aspergillus) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Gamma-glutamyl-transferase (γ-GT) | In-House Biochemistry | 5 mL blood in serum tube |
| Genital Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Gentamicin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Glucose | In-House Biochemistry | 4.0 mL Fluoride Oxalate blood |
| Group and Crossmatch | Blood Transfusion UHL | EDTA K2E 6.0 mL blood |
| Group and Hold | Blood Transfusion UHL | EDTA K2E 6.0 mL blood |
| Haemophilus influenza B Antibodies (IgG) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Haptoglobin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| HbA1c Glycosylated Haemoglobin | Eurofins Biomnis Ireland | 3.0 mL K3 EDTA blood |
| Helicobacter Pylori Tissue Culture | Eurofins Biomnis Ireland | Tissue in a sterile container |
| Helicobacter Pylori Faecal Antigen Test | Eurofins Biomnis Ireland | Faeces collected in a leak proof container. |
| Hepatitis A IgM Antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Hepatitis A Virus Total Antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Hepatitis B Antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Hepatitis B Core Antibody (anti-HBc) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Hepatitis B Surface Antigen | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Hepatitis C Antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Hepatitis C Antigen | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Herpes Simplex Antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| High Density Lipoprotein (HDL) | In-House Biochemistry | 5 mL blood in serum tube |
| Human Immunodeficiency Virus antigen/antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Immunoglobulin - IgE (Total) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Immunoglobulin - IgG Subclasses- IgG4 | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Immunoglobulins - IgG / IgA / IgM and Serum Protein Electrophoresis | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Influenza A virus | Eurofins Biomnis Ireland | Combined Nasopharyngeal swab in Viral Transport and preservation medium |
| Influenza B virus | Eurofins Biomnis Ireland | Combined Nasopharyngeal swab in Viral Transport and preservation medium |
| Infliximab Drug/ Antibody Levels | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| INR | In-House Haematology | 2.7 mL coagulation tube |
| Iron Studies | In-House Biochemistry | 5 mL blood in serum tube |
| Joint Fluid | Medical Microbiology, Bon Secours Hospital Tralee | Specimen in sterile container |
| Lactate | In House - POCT | Blood in a Li Heparin syringe |
| Lactate Dehydrogenase (LDH) | In-House Biochemistry | 5 mL blood in serum tube |
| Legionella pneumophila Urinary Antigen | Eurofins Biomnis Ireland | Urine in plain universal |
| Leptospirosis (Leptospira) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| LH (Luteinising Hormone) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Lipase | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Lipid Screen | In-House Biochemistry | 5 mL blood in serum tube |
| Lipoprotein (a) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Listeria monocytogenes - serology - serum | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Lithium | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Liver profile (LFT) | In-House Biochemistry | 5 mL blood in serum tube |
| Low Density Lipoprotein (LDL) | In-House Biochemistry | 5 mL blood in serum tube |
| Magnesium | In-House Biochemistry | 5 mL blood in serum tube |
| Magnesium (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Measles IgG antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Measles IgM antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Methaemoglobin | In House - POCT | Blood in a Li Heparin syringe |
| Methicillin-Resistant Staph aureus (MRSA) | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Microalbumin (Urine Albumin) | Eurofins Biomnis Ireland | Urine in plain universal |
| Mouth Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Mumps IgG antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Mumps IgM antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Nose Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Oestradiol | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Osmolality (Serum) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Osmolality (Urine) | Eurofins Biomnis Ireland | Urine in plain universal |
| Paracetamol | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Penile Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Phosphate (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Phosphate -inorganic | In-House Biochemistry | 5 mL blood in serum tube |
| Pleural Fluid Microscopy & Culture | Medical Microbiology, Bon Secours Hospital Tralee | Specimen in sterile container |
| Pneumococcus IgG/ IgG2 antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Potassium | In-House Biochemistry | 5 mL blood in serum tube |
| Potassium (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Prealbumin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Pregnancy Test (Serum) - HCG | Biochemistry, UHL | 5 mL blood in serum tube |
| Pregnancy Test (Urine) - HCG | In House - POCT | Urine in plain universal |
| ProBNP (B-Type Natriuretic Peptide) | In-House Biochemistry | 5 mL blood in serum tube |
| Procalcitonin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Progesterone | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Prolactin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Protein (Total) | In-House Biochemistry | 5 mL blood in serum tube |
| Protein (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Prothrombin Time (PT) | In-House Haematology | 2.7 mL coagulation tube |
| PSA | In-House Biochemistry | 5 mL blood in serum tube |
| PTH (Parathyroid Hormone) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Quantiferon test | Eurofins Biomnis Ireland | Specific Instructions for sampling procedure available from pathology department |
| RAST test | Eurofins Biomnis Ireland | 5 mL blood in serum tube. Specific allergens must be indicated on the test request |
| Renal Profile | In-House Biochemistry | 5 mL blood in serum tube |
| Respiratory Panel ( Influenza A & B, RSV and Sars-CoV-2) | Medical Microbiology, Bon Secours Hospital Tralee | Combined Nasopharyngeal swab in Viral Transport and preservation medium |
| Respiratory Syncytial Virus (RSV) | Medical Microbiology, Bon Secours Hospital Tralee | Combined Nasopharyngeal swab in Viral Transport and preservation medium |
| Reticulocyte Count | Eurofins Biomnis Ireland | 3.0 mL K3 EDTA blood |
| Rheumatoid Factor IgM | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Rubella IgG Antibody | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Rubella IgM Antibody - Serology | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Salicylate | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| SAR-CoV-2 PCR (24 hr turnaround time) | Medical Microbiology, Bon Secours Hospital Tralee | Combined Nasopharyngeal swab in Viral Transport and preservation medium |
| Skin Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Smear - Liquid based (Thin-Prep®) Cervical Smear (PAP) | Eurofins Biomnis Ireland | Thin-Prep Vial |
| Sodium | In-House Biochemistry | 5 mL blood in serum tube |
| Sodium (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection or spot urine |
| Sputum Culture | Medical Microbiology, Bon Secours Hospital Tralee | Specimen in sterile container |
| Sputum Cytology | Medical Microbiology, Bon Secours Hospital Tralee | Specimen in sterile container |
| Swab Culture | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Synovial Fluid | Medical Microbiology, Bon Secours Hospital Tralee | Specimen in sterile container |
| Syphilis (Treponema pallidum) antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Thin Prep HPV | Eurofins Biomnis Ireland |  |
| Throat Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Thyroxine Free (Free T4) | In-House Biochemistry | 5 mL blood in serum tube |
| Total Iron Binding Capacity (TIBC) | In-House Biochemistry | 5 mL blood in serum tube |
| Toxoplasma gondii IgG antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Toxoplasma gondii IgM antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| TPMT (Thiopurine S-methyltransferase) | Eurofins Biomnis Ireland | 5 mL EDTA whole blood |
| Transferrin | In-House Biochemistry | 5 mL blood in serum tube |
| Transferrin Saturation % | In-House Biochemistry | 5 mL blood in serum tube |
| Trichomonas vaginalis | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Triglycerides | In-House Biochemistry | 5 mL blood in serum tube |
| hs Troponin I | In-House Biochemistry | 5 mL blood in serum tube |
| TSH (Thyroid Stimulating Hormone) | In-House Biochemistry | 5 mL blood in serum tube |
| TNF-alpha - Tumour Necrosis Factor | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Urea | In-House Biochemistry | 5 mL blood in serum tube |
| Urea (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Urethral Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Uric Acid | In-House Biochemistry | 5 mL blood in serum tube |
| Uric Acid (Urine) | Eurofins Biomnis Ireland | 24 hour urine collection |
| Urinary 5 HIAA (5-hydroxyindoleacetic acid) | Eurofins Biomnis Ireland | 24 hour acidified urine collection |
| Urine Culture – Midstream Urine | Medical Microbiology, Bon Secours Hospital Tralee | Urine in plain universal |
| Urine Cytology | Medical Microbiology, Bon Secours Hospital Tralee | 1 mL of fresh urine with no preservative delivered to the laboratory within 2 hours |
| Urine Protein Creatinine Ratio (PCR) | Eurofins Biomnis Ireland | Urine in plain universal |
| Urine Protein Electrophoresis (Urine Bence Jones Protein) | Eurofins Biomnis Ireland | 24-hour urine sample preferred. 20 mL urine acceptable if 24 hour sample not possible, plain bottle, no preservative |
| Vaginal Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |
| Vancomycin | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Vancomycin Resistant Enterococci (VRE) | Medical Microbiology, Bon Secours Hospital Tralee | Rectal swab in transport medium / faeces sample |
| Varicella-zoster Virus IgG antibodies | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Vitamin B12 | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| Vitamin D (1,25-Dihydroxy or D3) | Eurofins Biomnis Ireland | 5 mL blood in serum tube |
| VMA (Vanilmandelic acid) | Eurofins Biomnis Ireland | 24 hour urine collection |
| White Blood Cell Differential Cell Count | In-House Haematology | 3.0 mL K3 EDTA blood |
| Wound Swab | Medical Microbiology, Bon Secours Hospital Tralee | Swab in transport medium |